## Inventory
Laboratory Asset Inventory
Company: | PNG Institute of Medical Research
Date: | 2023-09-11
Site: | GOROKA
Item Description |  |  |  |  | Item Details | [5 empty] | Location | [5 empty] | Purchase Information |  |  |  | Disposal information
Name | Brand | Description | Category | Asset # | Model No. | Serial No. | Condition | Reason | Date Serviced | Service Due | Site | Dept/Unit | Room Name | Room | Date of Ph. Verification | Confirmity (Acc.Asset Registry) | Date | Supplier | Warranty Expiration | Price | Decontaminated | Disposed using Town general waste removal. | Sold
Biosafety Cabinet | Labconco | Clean bench | Clean Bench | G97/13 | 360020S | 408696 | Working |  | 2010-11-03 | 2020-11-03 | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Biosafety Cabinet |  | Laminar Airflow Cabinet, clean bench | Clean Bench | G84/9 | CF63S | 6161/84 | Working |  | 2019-08-28 | 2020-08-28 | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Incubator | Heal Force | Infectious incubator | Incubator |  |  |  | Working | Water Jacked C02 - CO2 Unit? |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Incubator | Thermo Electron | Thermo electron: Infectious Incubator | Incubator | G06/LE02 |  |  | Not Working | Disconnected- needs adapter plug |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Incubator | LabEquipment Smart Cell | Infectious Incubator. | Incubator |  |  |  | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Incubator | LabEquipment Smart Cell | Clean Incubator. | Incubator |  |  |  | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Water bath |  |  | Waterbath |  |  |  | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Microscope |  | Digital microscope; Nikon SMZ1500 | Microscope |  |  |  | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Microscope |  | Inverted microscope; Nikon T5100 | Microscope |  |  |  | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Incubator | NVC | NVC Australia Pty Ltd | Incubator | G108 | 1111 | 1433.01 | Not Working | unknown |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Fridge & Freezer | Kelvinator 2, Cyclic 500 | 2 Door; upright; white | Fridge & Freezer | G90/10 | C500T | 6469 | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Freezer | Westinghouse | Silhouette; upright; white; 1 door. | Freezer | G91/6 | FN730136 | 14407 | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Vortex | Ratek | Olive Green; mini; | Vortex |  | VM1 | 104125761 | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Centrifuge | Eppendorf | Centrifuge 5418; milky white & blue | Centrifuge |  |  | 5418Y Q313534 | Working |  |  |  | Goroka | EEDU | Dry Lab | 422 | 2019-12-16
Thermal Cyclers | Biorad | Conventional thermal cyclers; Biorad; 48-well; DNA Engine | Thermal Cyclers |  | PTC0200 | EN036659 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-16
Thermal Cyclers | Biorad | 96-well; Biorad; iCycler | Thermal Cyclers | G06/LE03 | iCycler | 582BR016330 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2020-01-20
Real-time PCR | Biorad | 96 well – C1000 Thermal Cycler, 'Miss Quintessa', BioRad; CFX96 Real Time System | Thermal Cyclers |  | C1000 Thermal Cycler | CC008960 | Working | Faulty: lid sensor problem. |  |  | Goroka | VBDU | Malaria Lab | 414 | 2020-01-20
Bioplex System | Biorad | BioPlex 200; Biorad; (Sherlock Holmes) | Bioplex System | G09/LE16 | Array Reader | LX10006033401 | Not Working | needle clog |  |  | Goroka | VBDU | Malaria Lab | 414 | 2020-01-20
Bioplex System | Biorad | BioPlex 200; Biorad; Miss Marple | Bioplex System |  | Array Reader | LX10006100401 | Not Working | needle clog |  |  | Goroka | VBDU | Malaria Lab | 414 | 2020-01-20
Bioplex System | Biorad | MAGPIX; Luminex XMP Technology. | Bioplex System |  | MAGPIX | MAGPIX10218002 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2020-01-20
Spectrophotometer | Quawell | UV-VIS Spectrometer; Q5000 | Spectrometer |  | Q5000 | Q5KB004 | Working |  |  |  | Goroka | VBDU | Malaria Lab
Centrifuge | Eppendorf | Centrifuge 5702; milky white; | Centrifuge |  | 5702 | 8628 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Incubator | Sanyo | Conventional Oven; Benchtop; Grey; | Incubator | G08/LE001 | MOV-112F | 61118735 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Fridge | Westinghouse | White; Upright; 1 Door; (4C). | Fridge | G06/LE09 | RP372V-R | 44752369 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Vortex | Ratek | Green and grey; | Vortex |  | VM1 | 104125753 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Centrifuge | Sprout | Mini centrifuge; mini-strips; green & black. | Centrifuge |  |  | HSA01092 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Centrifuge | Eppendorf | Mini-centrifuge; 1.5-2ml tubes; white; | Centrifuge |  | 5415C | 87801 | Working |  |  |  | Goroka | VBDU | Malaria Lab | 414 | 2019-12-17
Water bath | Ratek | Shaking Water Bath & Drive Unit; Green. | Waterbath | G89/1 |  | SWB20179 | Working |  |  |  | Goroka | SRHU | HIV/STI LAB | 417 | 2019-12-17
Freezer | Westinghouse | Grey; Upright; 1 Door; (-20C) | Freezer | G12/OE02 |  |  | Working |  |  |  | Goroka | SRHU | HIV/STI LAB | 417 | 2019-12-17
Freezer | Fisher & Paykel | White; Upright; 1 Door; (-20C). | Freezer | G10/LE01 |  |  | Working |  |  |  | Goroka | SRHU | HIV/STI LAB | 417 | 2019-12-17
Fridge | Westinghouse | Silhouette; upright; white; 1 door; (4C). | Fridge | G92/43 |  |  | Working |  |  |  | Goroka | SRHU | HIV/STI LAB | 417 | 2019-12-17
Centrifuge | Eppendorf | Centrifuge 5415C; Milky white; | Centrifuge | G06/LE11 | 5415 | 5415-92110 | Working |  |  |  | Goroka | SRHU | HIV/STI LAB | 417 | 2019-12-17
Dryer | Binder | Glassware dryer; Benchtop; | Dryer |  |  |  | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Dishwasher | Miele | Floor mounted; Silver; | Dish Washer | G93/24 | Mielabo67733 | DVGWU157 | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Dryer | Qualtex | Qualtex solid stat; blue & silver; | Dryer |  | Qualtex Uni.Sen.2000 |  | Not Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Sterilizer | Burns & Ferral | Wall inbuilt; Silver. | Sterilizer |  | 110872 | S20381 | Not Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Sterilizer | Labec | Floor mounted; Silver; | Sterilizer | G03/18 & G03/LE01 | AA20 | K440 | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Distillator | Lab Glass Delta | Double distillator; mounted on wall; | Distillator |  |  |  | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Water Purifier | Millipore | Simplicity 185; White & Blue | Water Purifier | G03/LE03 | SIMS5V000 | F2NN8594D | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Fan | Air Monster | Black; floor/bench mounted; | Fan | G18/LE01 | 261686 |  | Working |  |  |  | Goroka | Lab Management | Wash Room | NA | 2019-12-17
Gel Imaging System | UVP | Gell chamber; AGP Technologies; White/UV Transilluminator; white. | Gel Imaging System | G97/25 | GDS7500 |  | Not Working |  |  |  | Goroka | Lab Management | Dark Room | 307 | 2019-12-17
UV Illuminator | Fotodyne | UV Viewing Plate; white; | UV Illuminator | G89/15 | 33002 | LTAZ-0189-2130 | Working |  |  |  | Goroka | Lab Management | Dark Room | 307 | 2019-12-17
Gel Imaging System | Biorad | Molecular Imager Gel Doc XR; white | Gel Imaging System | G09/LE05 | Universal Hood II | 720BR/01295 | Working |  |  |  | Goroka | Lab Management | Dark Room | 307 | 2019-12-17
Power Supply | BRL Life Technologies | Gel power supply; white & black; | Power Supply | M93/06 | 500 | 60915 | Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-17
Power Supply | Pharmacia | Electrophoresis Power Supply; White & Black; | Power Supply | G/88/36 | EDS 500/400 | 223837 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-17
Centrifuge | Beckman | Mini-centrifuge; Microfuge E; white; | Centrifuge | G93/36 | Microfuge E-1992 | 11207 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-17
Microwave | Samsung | Classic Collection; White & Brown; | Microwave | G88/6 |  | 70500213 | Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Shaker |  | Horizontal; grey & black; | Shaker | G89/3 |  |  | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Power Supply | Pharmacia | Electrophoresis Power Supply; White & Black; | Power Supply | G86/19 | ECPS 3000/150 | 224474 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Power Supply | Biorad | Small; white & green. | Power Supply |  | Power Pack Basic | 041BR56334 | Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Power Supply | Pharmacia | Volthour Integrator VH-1 | Power Supply | G86/18 | VH-1 | 2709 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Power Supply | Pharmacia | Electrophoresis Power Supply; White & Black; | Power Supply | G88/11 | EPS 500/400 | 223838 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Sonicator | Virtis | Virsonic 475; red & white; | Sonicator | M93/24 | Virsonic 475 | V4073205167 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Chiller | Biorad | 1000 mini chiller; black &white; | Chiller |  | 1000 mini chiller | 86BR0095 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Chamber | Biorad | Chef Electrophoresis Cell; Dark brown | Gel Chamber |  | Chef Mapper | 800BR1143 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Dryer | Savant | Slab gel dryer; blue & white; | Gel Dryer | G93/10 | SGD4050 | SGD4050-3A-30012-2F | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Dryer | Biorad | Model 583 Gel dryer; white; | Gel Dryer | G93/42 | 583 | 187BR001926 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Pump | Savant | Gel pump GP100 | Gel Pump | G93/10A | GP100 | F153755 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Chamber | CBS Scientific Co. | Denaturing Gradient Gel Electrophoresis System | Gel Chamber | G93/38 | DGGE4000 |  | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Chamber |  | Horizontal Gel Electrophoresis System | Gel Chamber | M93/08 | H4 | 138444 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Chamber | LSI | Clear chamber | Gel Chamber | G87/4A |  |  | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Trans Blot Cell | Biorad | Trans blot cell | Gel Chamber | G90/40 | Trans Blot | 49BR19867 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Gel Dryer | Biorad | Chef DR III system | Gel Dryer |  | Chef DR III Power Module | 962BR0521 | Not Working |  |  |  | Goroka | Lab Management | Gel Room | 308 | 2019-12-18
Scale | Mettler | Precision balance; PM480; Delta Range;dark &light grey; | Scale | G93/23 | PM480 | N72595 | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Fridge & Freezer | Kelon | White; Upright; 2 Door; small; 125L. | Fridge & Freezer | G09/LE08 | RD-16WR-4HA |  | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Ice Maker | Scotsman | Floor/Bench mounted; AF200; Grey & silver | Ice Maker | G09/LE10 | AF200 | DF329508M | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Sterilizer | Tuttnauer | Benchtop; white; 3850EL; | Sterilizer |  | 3850EL | 1008056 | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Water bath | Ratek | Green & silver | Water Bath | G03/133 & G03/LE22 | SP425 | 307014076 | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Water bath | Ratek | Grey & Silver | Water Bath | G11/LE10 | WB20 | 104125733 | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Water bath | Ratek | Grey & Silver | Water Bath |  | WB20 | 104125733 | Not Working | used as spare part |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Freeze Dryer | Thermo Electron Corporation | MODULYOD Freeze Dryer; Grey; Benchtop; | Freeze Dryer | G09/LE01 | Modulyod-230 | N21U-423502-NU | Not Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Vaccum Pump | Dynavao | Navy blue; | Vaccum Pump |  | D8 | 32093 | Not Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Vaccum Pump | ThermoSavant | White; | Vaccum Pump |  | RV3 | 76363170 | Not Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Clean Bench | Email Air Handling | Laminar Airflow Cabinet, clean bench; AES Environmental Pty Ltd; blue & white; | Clean Bench | G03/20 & G03/LE04 | 0200-618-2 | 1173 | Working |  | 2019-08-28 | 2020-08-28 | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
pH Meter | Mettler | Toledo; Five Easy FE20; White; | pH Meter |  | FE20 | 1229255774 | Not Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Hotplate | Analite | Hot plate magnetic stirrer; blue & black. | Hotplate |  | SH1 | 1079 | Not Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Hotplate | IEC | black & silver; | Hotplate | G95/05 | CH2090-001 |  | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Stove | ETA | Electric stove; Eta0118; white; 2 burner. | Stove |  | ETA0118 |  | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Fan | Martec | Table top fan; white; | Fan |  | MA30D |  | Working |  |  |  | Goroka | Lab Management | Media Prep. Room | 320 | 2019-12-19
Centrifuge | Eppendorf | Centrifuge 5402; white; | Centrifuge |  | 5402 | 5402B02232 | Not Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Centrifuge | Eppendorf | Centrifuge 5702; milky white; | Centrifuge |  | 5702 | 57022G322408 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Centrifuge | Eppendorf | Centrifuge 5415C; Milky white; | Centrifuge | G97/26 | 5415C | 541578938 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Centrifuge | John Morris Scientific | Mini Plate Spinner; MPS1000. | Centrifuge |  | MPS1000 | K012114 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Centrifuge | K.I.Scientific | Mini centrifuge; white; | Centrifuge |  | Pico17 | 75002410 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Heating Block | Labec | Dry block heater; blue. | Hotplate | G09/LE07 | M-MD-02N | N508 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Hotplate | Nova | Thermolyne; stirrer plate; white | Hotplate |  | SP18420-26 | 7579-8015-9048 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Vortex | Ratek | Vortex mixer; green & grey. | Vortex |  | VM1 | 104125762 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Vortex | Ratek | Vortex mixer; green & white. | Vortex |  | VM1 | VM422 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Fridge & Freezer | Kelon | White; 2 door; medium; | Fridge & Freezer | G08/LE09 | RD-32WR4HC |  | Out of Service | Fridge not working. |  |  | Goroka | Lab Management | DPL | 309 | 2020-06-01
Fridge & Freezer | West Point | Grey; Uprigth; 2dr; 398L. | Fridge & Freezer | G20/LE01 | WN-407.S | 98I9650019 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2020-06-01 |  | 2020-04-22 | Brian Bell Ltd | 2021-04-22 | 2695 | 2020-06-01
Biosafety Cabinet | Email Air Handling | AES Environmental Pty Ltd; BSC Class II; blue & white. | BSC | G03/117 & G03/LE126 | 2320-612-3 | 4083-1103 | Working |  |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Water bath | Ratek | Grey & Silver | Water Bath |  | WB14D | 105125910 | Working | NEW |  |  | Goroka | Lab Management | DPL | 309 | 2019-12-19
Incubator | Napco | Water-Jacketed CO2 Incubator; 1 door; bench top; white & black. | Incubator | G97/18 | Napco6101 | 697020518 | Not Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Fridge & Freezer | Kelon | White; 2 door; small; upright. | Fridge & Freezer | G09/LE09 | RD-16WR-4HA |  | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Fridge & Freezer | Sharp | Upright; medium; dark grey; 2 door. | Fridge & Freezer |  | SJP192K-SL | 5120109812 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Freezer | Westinghouse | upright; large; grey; 1 door; | Freezer |  | WFM36005BL | 1302387 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Fridge & Freezer | Kelon | Upright; small; 1 door; white; | Fridge & Freezer | G05/LE02 | RS-22DR4HE |  | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Centrifuge | Eppendorf | Benchtop; off-white; centrifuge 5810. | Centrifuge | G03/128 & G03/LE16 | 5810 | 581010296 | Not Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Centrifuge | Eppendorf | Benchtop; off-white; centrifuge 5810R | Centrifuge | G05/LE01 | 5810R | 58110030696 | Not Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Biosafety Cabinet | Email Air Handling | BSC Class II; blue & white; | BSC | G06/LE12 | CCC-1687-5601 | 1040 | Not Working | Incorrect power cord |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Water bath | Ratek | Olive green; benchtop; | Water Bath | G92/25 | WB20 | 202954 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Centrifuge | Thermo Scientific | Heraeus Multfuge X1R; Benchtop; off-Wht. | Centrifuge |  | CN:75004250 | 41355503 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Bucket & Rotor | Eppendorf | For Deep well plates; Type A-2-DWP | Bucket & Rotor |  | LN:S405700K |  | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Vortex | Ratek | Green & Grey; | Vortex | G96/20 | VM1 | 70996523 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Centrifuge | Eppendorf | Mini Spin; Spherical; off-wht. | Centrifuge |  | Eppendor AG | 54520025901 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Plate Washer | Biolab | Molecular Devices; ELISA plate washer; Skan Washer 400; grey. | Plate Washer | G03/68 & G03/LE20 | Skan Washer 400 | 12019-1439 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Water bath | Ratek | light grey & silver; small. | Water Bath |  | WB70 | 104125811 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Sonicator | Branson | 1510; wht; | Sonicator |  | 1510E-DTH | EKC110856263F | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Hotplate | IEC | Hot plate magnetic stirrer; black & Silver. | Hotplate |  | CH2093001 | CS76083V | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Plate Reader | Dynamica | ELISA MicroPlate reader; Halo MPR-96; Grey & Red. | Plate Reader |  | Halo MPR-96 |  | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Microscope | Nikon | Eclipse 50i; wht & blk; | Microscope | G09/LE02 | Eclipse 50i | 115151 | Working |  |  |  | Goroka | I & I Unit | Immunology Lab | 401 | 2019-12-20
Incubator | Thermo Scientific | Hepa Class 100; Wht; benchtop; CO2 Incubator. | Incubator | G09/LE13 | 311 | 311852-2836 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Incubator | NVC | Australia Pty Ltd; olive green; 1 door; On floor; AIR Incubator. | Incubator | G85/31 | 1123 | 6032-01 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Microscope | Olympus | 430; off-wht & blk; | Microscope |  | CH30RF200 | 9F07748 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Plastic Sealer | Double Leopards | Impulse Sealer; SP-300H | Plastic Sealer |  | SP-300H |  | Not Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Mixer | Ratek | Vacutainer mixer; green & wht. | Centrifuge | G89/2 | Rotary Suspension Mixer | SM154 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Microscope | Nikon | Eclipse Ci; blk & wht. | Microscope |  | Eclipse Ci-S | 401434 | Working | Problem with stage |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Vortex | Ratek | Vortex mixer; green &grey; | Vortex | G11/LE13 | VM1 | 104125771 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Microscope | Nikon | Eclipse E200; wht & blk. | Microscope | G03/LE18 | Eclipse E200 | 762031 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Vortex | Ratek | Vortex mixer; green & grey. | Vortex | G97/19 | VM1 | 70996534 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Plate Counter | Redbank Instruments | Maggylamp; white. | Plate Counter |  | ML201 | 2079 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Centrifuge | MSE | 5-10ml vacutainers; Steel, silver, centrifuge | Centrifuge |  | 384 | 345539 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Shaker | IKA | Vibrax VXR basic; whit; | Shaker |  | VXRBS5 | 7288346 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Biosafety Cabinet | Gelman Sciences | light olive green; | BSC | 6179 | BHA143AS | 1454 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Fridge & Freezer | Whirlpool | White; 2 door; medium; upright. | Fridge & Freezer | G01/02 | WRN28RWG6 | Q96206 | Working |  |  |  | Goroka | I & I Unit | Bacteriology Lab | 403 | 2019-12-20
Fridge | Labline Instruments | 1 Door;wht; large; upright | Fridge | G98/23 |  |  | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Biosafety Cabinet | Gelman Sciences | BSC Class II; blue & white; | BSC |  | BH180 | 424792 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Vortex | Ratek | Vortex mixer; green & grey. | Vortex |  | VM1 | 104125759 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Centrifuge | Thermo Scientific | Heraeus Fresco 17; wht & blue; | Centrifuge |  | 75002420 | 41717186 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Centrifuge | Thermo Scientific | Heraeus Megafuge 16R; wht & blue | Centrifuge |  | 75004270 | 41100568 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Water bath | Townson & Mercer | blue & silver | Water Bath | G161 | WBC6 | 2720 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Vortex | Ratek | Vortex mixer; green & grey. | Vortex |  | VM1 | 70796352 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Incubator | Labec | Smart cell; wht; benchtop; 1door; C02 incubator. | Incubator |  | HF90 | 0711K1730CE | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Incubator | Thermo Electron Corporation | Wht; 1 door; benchtop | Incubator | G06/LE02 | 3520 | 104004 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Incubator | Heal Force | Water-Jacketed CO2 Incubator; 1 door; bench top; off-wht; HF260W | Incubator |  | HF160W | 1210XT0544 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Incubator | Heal Force - Labec | wht; 1door; Smart Cell; CO2 Incubator; | Incubator |  | HF90 | 0711k1739CE | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Microscope | Nikon | SMZ1500; Wht & blk; Occular | Microscope |  | C-BD230 | 3012370 | Not Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Microscope | Nikon | Eclipse TS100; Wht & blk; Occular | Microscope |  | Eclipse TS100 | 350229 | Not Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Freezer | West Point | upright; 1 Door; grey; -20C. | Freezer |  | WVPYS-4412.R | YBF920712082SFR005 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Biosafety Cabinet | Thermo Scientific | MSC Advantage; blue & wht; BSC Class II. | BSC |  | MSC1.2 | 40841953 | Working |  |  |  | Goroka | EEDU | Virology lab 2 | 407 | 2019-12-20
Fridge | Westinghouse | Aurora; 420L; 1door; Upright; wht; | Fridge | G97/08 | RP423M-RW | 44833076 | Working |  |  |  | Goroka | EEDU | Virology lab 1 | 405 | 2019-12-20
Fridge | Westinghouse | Silhouette; Freeze Mate 423; white; | Fridge | G93/05 | RP423G-RE | 24050953 | Working |  |  |  | Goroka | EEDU | Virology lab 1 | 405 | 2019-12-20
Plate Reader | Thermo Scientific | Original Multscan EX; light grey & blue. | Plate Reader |  | 355 | 3550905601 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Centrifuge | Myfuge Benchmark | Mini-centrifuge; blue & off-wht. | Centrifuge |  | C1012 | 20131202899 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Thermal Cyclers | Biorad | C1000 Thermal Cycler CFX; Real-time PCR Detection System; 'GRUG'. | Thermal Cyclers |  | C1000 Thermal Cycler | CC016475 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Thermal Cyclers | Biorad | C1000 Touch. Thermal Cycler; CFX Real-Time PCR Detection System; 'PRISCILLA'. | Thermal Cyclers |  | C1000 Thermal Cycler | CT005790 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Thermal Cyclers | Qiagen | Rotor-Gene Q; Reat-Time PCR. | Thermal Cyclers |  |  | 1215118 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Microscope | Nikon | Eclipse 50i; wht & blk; | Microscope |  | Eclipse 50i | 211478 | Not Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Centrifuge | IEC | Thermo IEC; Centra GP8R; off-Wht & light blue; Benchtop. | Centrifuge |  | Centra GP8R | 31250524 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Micscope | ZIEZZ | Fluorescense; Primo Star; Wht & Blue; | Microscope |  | Promo Star 1LED | 3133000936 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Vortex | Ratek | Vortex mixer; green & grey. | Microscope | G03/121 & G03/LE08 | VM1 | 307014065 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Water bath | Ratek | Vortex mixer; green & grey. | Water Bath |  | IT16 | 609784 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Dry Block Heater | Ratek | Dry block heater; Green. | Dry Block Heater |  | DBH20D | 102125415 | Working |  |  |  | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Biosafety Cabinet | Gelman Sciences | BSC Class II; Light green & wht. | BSC | G87/13 | BH143 | 7593/87 | Working |  | 2019-08-01 | 2020-08-01 | Goroka | EEDU | Virology Lab 1 | 405 | 2019-12-20
Hotplate |  |  | Hotplate |  |  |  | not found |  |  |  | Goroka | EEDU | Wet Lab | 405 | 2019-12-20
Balance |  |  | Balance |  |  |  | not found |  |  |  | Goroka | EEDU | Wet Lab | 405 | 2019-12-20
Clothes Dryer | Simpsons | Sirocco 350; Wall mounted; wht | Dryer | G02/30 | 39P350 | 14430314 | Working |  |  |  | Goroka | Lab Management | Laundry area | 503 | 2019-12-20
Washing Machine | Simpsons | Esprit 550; floor; wht; | Washing Machine | G02/37 | 36S550 | 21512550 | Working |  |  |  | Goroka | Lab Management | Laundry area | 503 | 2019-12-20
Microscope | Lietz | Diaplan; Wht & grey | Microscope | G91/31 | 020-437-035 | 512834 | Not Working | OLD |  |  | Goroka | Lab Management | Laundry area | 503 | 2019-12-20
Sterilizer | Burns & Ferral | sterilizer; stainless steel. | Sterilizer |  | 110.56 | S29481 | Not Working | OLD |  |  | Goroka | Lab Management | Laundry area | 503 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C. | Freezer | G02/62 | FD703L | 11190762 | Working |  |  |  | Goroka | Lab Management | Laundry area | 503 | 2019-12-20
Ultra-low freezer | Froilabo | Bio Memory BM690; Froilabo; -80°; Green & Blue. 1dr. | UTL Freezer |  | BM690 | 216501 | Not Working |  |  |  | Goroka | EEDU | Freezer room | 504 | 2019-12-20
Ultra-low freezer | Froilabo | Bio Memory BM690; Froilabo; -80°; Green & Blue. 1dr. | UTL Freezer |  | BM690 | 215944 | Not Working |  |  |  | Goroka | SRHU | Freezer room | 504 | 2019-12-20
Ultra-low freezer | Panasonic | VIP Series, VIP Plus +; Upright; 1dr; off-wht. -80C. | UTL Freezer |  | MDF-U700VX-PE | 16040141 | Working |  |  |  | Goroka | I & I Unit | Freezer room | 504 | 2019-12-20
Ultra-low freezer | Thermo Scientific | 1 Door; Upright; grey & off-wht; Revco Ex F. | UTL Freezer |  | EXF40086V | ULTS065113100312 | Working |  |  |  | Goroka | EEDU | Freezer room | 504 | 2019-12-20
2019-12-20
Freezer | Westinghouse | #1; Chest; wht; 210L; -20C; 1door; small. | Freezer | G08/LE15 | WCM2150W | 73590493 | Working |  |  |  | Goroka | SRHU | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C. 1dr. | Freezer | G02/59 | FD703L | 21290107 | Working |  |  |  | Goroka | I & I Unit | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C; 1dr. | Freezer | G02/60 | FD703L | 13891028 | Working |  |  |  | Goroka | Lab Management | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | UL#1; Chest; wht; 700L; -20C; 1dr. | Freezer |  | WCM7050WC-XA | 60210652 | Working |  |  |  | Goroka | Lab Management | Freezer room | 501 | 2019-12-20
Freezer | Fisher & Paykel | UL#2; Chest; wht; 699L; -20C; 1dr. | Freezer |  | H701 | BIB504072 | Working |  |  |  | Goroka | Lab Management | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C; 1dr. | Freezer | G02/64 | FD703L | 13190202 | Working |  |  |  | Goroka | I & I Unit | Freezer room | 501 | 2019-12-20
Freezer | Fisher & Paykel | UL#3; Chest; 1dr; -20C; 511L; | Freezer |  | H510X | RYB517459 | Working |  |  |  | Goroka | Lab Management | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | #2; Chest; wht; 1dr; -20C; 700L. | Freezer | G10/LE05 | WCM7050W | 94818574 | Working |  |  |  | Goroka | SRHU | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | #3; Chest; wht; 1dr; -20C; 700L. | Freezer | G02/63 | FD703L | 11490264 | Working |  |  |  | Goroka | SRHU | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | #4; Chest; wht; 1dr; -20C; 700L. | Freezer | G02/61 |  |  | Working |  |  |  | Goroka | SRHU | Freezer room | 501 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C; 1dr. | Freezer | G02/58 | FD703L | 131901116 | Working |  |  |  | Goroka | Lab Management | Freezer room | 501 | 2019-12-20
Freezer | Fisher & Paykel | Chest; wht; 511L; -20C; 1dr. | Freezer |  | H510 | CHB513336 | Working |  |  |  | Goroka | VBDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #5; Chest; 1dr; wht; 500L; -20C. | Freezer | G06/LE10 | FD503L | 45190463 | Working |  |  |  | Goroka | SRHU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #1; Chest; 1dr; wht; 700L; -20C. | Freezer | G06/LE01 | WCM7050W | 63390167 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Fisher & Paykel | #6; Upright; 1dr; wht; 389L; -20C. | Freezer | G10/LE03 | E388 | AUF260681 | Working |  |  |  | Goroka | SRHU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #2; Chest; wht; 1dr; -20C; 700L. | Freezer | G91/LE03 |  | CM024796 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; -20C; 1dr. | Freezer | G06/LE08 | WCM7050W | 62490091 | Working |  |  |  | Goroka | VBDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 500L; 1dr; -20C. | Freezer | G92/27 | H500T | CL040707 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Fisher & Paykel | Chest; wht; 699L; 1dr; -20C. | Freezer |  | H701 | LKF549069 | Working |  |  |  | Goroka | Lab Management | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | Chest; wht; 700L; 1dr; -20C. | Freezer | G06/LE02 | FD703L | 51890140 | Not Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #7; Chest; wht; 700L; 1dr; -20C. | Freezer | G94/17 | FD703 | ..80768 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #6; Chest; wht; 700L; 1dr; -20C. | Freezer | G08/LE01 | WCM5050W | 61790087 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Frigidaire | #5; 701; Chest; wht&brown; 1dr; -20C; 699L. | Freezer | G89/22 | FH701SGWHWHV802 | N500797 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20
Freezer | Westinghouse | #4; Chest; wht; 1dr; 500; -20C. | Freezer | G94/16 | FD503 | 40980112 | Working |  |  |  | Goroka | EEDU | Freezer room | 505 | 2019-12-20

## Suppliers
Supplier List
Supplier Name | Product | Product Link (website) | Description | Price | Lead Time (days) | Contact Name | Email | Phone # | Fax # | Street Address | City, State ZIP

## Lab Inventory Template
Laboratory Asset Checklist
Company: | PNG Institute of Medical Research
Date: | 2023-09-11
Item Description |  |  | Item Details | [5 empty] | Location
Name | Description | Category | Asset #2 | Model No. | Serial No. | Condition | Reason | Service Due | Site | Dept/Unit | Room Name | Room